# Application Questionnaire

# General Moisture and Water Dew Point

CUSTOMER

| Customer: |  |  |  |
| --- | --- | --- | --- |
| Location: |  |  |  |
| Contact name: |  | Customer reference: |  |
| Contact phone: |  | Email: |  |

APPLICATION

Description of application and reason for the measurement:

FLUID COMPOSITION:

| Component: | Conc. | Unit: | Component: | Conc. | Unit: |
| --- | --- | --- | --- | --- | --- |

Conc. = Concentration

CAUTIONS:

In pure fluids, please include any trace impurities. If any compounds of high dielectric constant, such as methanol, ethanol, ammonia, etc, these must be stated.

FLUID CONDITIONS AT SAMPLE SOURCE:

| Temperature: |  | Max: |  | Normal: |  | Min: |  |  |  | Unit: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pressure: |  | Max: |  | Normal: |  | Min: |  |  |  | Unit: |  |
| Phase: | Select |  | If Gas, does the gas contain any entrained liquids?: |  |  |  |  |  |  | Select |  |
| If yes give details including composition of the liquid and concentration within the fluid: |  |  |  |  |  |  |  |  |  |  |  |
| If Liquid, does the liquid contain any proportion of gas/vapor?: |  |  |  |  |  |  |  |  | Select |  |  |
| If yes give detail: |  |  |  |  |  |  |  |  |  |  |  |
| Potential contaminants: |  |  |  |  |  |  |  |  |  |  |  |
| Does the fluid contain particles?: |  |  |  |  |  |  |  |  | Select |  |  |
| If yes please give details including composition of the solids, particle size and concentration within the fluid: |  |  |  |  |  |  |  |  |  |  |  |
| Corrosion: |  |  |  |  |  |  |  |  |  |  |  |
| Is the fluid considered to be corrosive or contains corrosive components?: |  |  |  |  |  |  |  | Select |  |  |  |
| If yes give details (including concentrations): |  |  |  |  |  |  |  |  |  |  |  |

MOISTURE / DEW POINT MEASUREMENT

| Measurement unit: |  |  | Measurement range: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| If water dew point, state if at : Select | If another pressure; state pressure: |  |  |  | Unit: |  |
| Expected measurements: | Min: |  | Normal: |  | Max: |  |
| Required Accuracy: |  |  | Alarm levels: |  |  |  |

INSTALLATION

| Location: | Select |  | Location description: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Is the air laden with dust, sand or salt: |  |  |  |  |  |  |  |  | Select |  |  |  |  |  |  |  |
| If yes give details: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location environment or climate and instrument type |  |  |  |  |  |  |  |  |  |  |  |  | Humidity: |  |  | %rh |
| Temperature Indoors |  |  |  | Min: |  |  |  | Normal: |  |  |  | Max: |  | Unit: |  |  |
| Temperature Outdoors |  |  |  | Min: |  |  |  | Normal: |  |  |  | Max: |  | Unit: |  |  |
| Instrument type: |  | Select |  |  |  |  |  |  |  | For on-line is display required? |  |  |  | Select |  |  |
| Is the installation location in an Ex classified hazardous area? |  |  |  |  |  |  |  |  |  |  |  |  | Select | If yes, please complete: |  |  |
| Ex classification for field location: |  |  |  |  |  | Select |  |  |  |  | If other, please specify: |  |  |  |  |  |
| NEC Class Division Group: Or IEC Zone Group Temperature Class: |  |  |  |  |  |  | Class: |  |  |  |  | Div: |  | Grp: |  |  |
|  |  |  |  |  |  |  | Zone: |  |  |  |  | Grp: |  | TClass: |  |  |
| If on-line Ex analyser, location of control electronics: |  |  |  |  | Select |  |  |  |  |  |  |  | If Ex rated analyser house, please give details: |  |  |  |
| NEC Class Division Group: Or IEC Zone Group Temperature Class: |  |  |  |  |  |  | Class: |  |  |  |  | Div: |  | Grp: |  |  |
|  |  |  |  |  |  |  | Zone: |  |  |  |  | Grp: |  | TClass: |  |  |

POWER SUPPLY

| Voltage: | Select | If other, please specify: |  |
| --- | --- | --- | --- |

OUTPUTS, ALARMS AND COMMUNICATIONS

| Analog output: | 4-20mA |  | State output parameters: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alarms, Volt free contacts: |  |  | Instrument status alarm: | Select |  | Measurement alarm: |  | Select |
| If yes, give number of alarms required with set points and if high or low activated: |  |  |  |  |  |  |  |  |
| Digital communications: |  | Select |  |  | Datalogging: |  | Select |  |

Further information or sketches that help to define the application: